# Phase 3a: Calibration Engine Design — Greyscale AutoCal

Date: 2026-04-24 | Status: Approved

Scope: Calibration engine for greyscale AutoCal (21-point ramp, 1D LUT + white balance)

Scope-out: Color gamut (saturation sweeps, CMS), 3D LUT generation, HDR tone curve, device profiling

# 1. Goals

Orchestrate greyscale AutoCal end-to-end: patch display -> measurement -> analysis -> LUT generation -> upload

Persist every reading to SQLite (resumable after crash)

Emit real-time events for UI progress reporting

Work with mock HAL implementations today, real hardware tomorrow

# 2. Architecture

## 2.1 Crate Decomposition

crates/calibration-core/
├── Cargo.toml                    # workspace dep: color-science, hal
└── src/
    ├── lib.rs                    # Re-exports
    ├── state.rs                  # CalibrationState enum, SessionConfig
    ├── patch.rs                  # PatchSet, Patch, PatchColor
    └── measure.rs                # MeasurementLoop, Reading, ReadingStats

crates/calibration-autocal/
├── Cargo.toml                    # workspace dep: calibration-core, color-science
└── src/
    ├── lib.rs
    ├── greyscale.rs              # GreyscaleAnalyzer, CorrectionStrategy
    └── lut.rs                    # Lut1DGenerator (per-channel tone curve fit)

crates/calibration-storage/
├── Cargo.toml                    # workspace dep: calibration-core, rusqlite
└── src/
    ├── lib.rs
    ├── schema.rs                 # SQLite schema definitions
    ├── session_store.rs          # Session CRUD
    └── reading_store.rs          # Reading CRUD

crates/calibration-engine/
├── Cargo.toml                    # workspace dep: calibration-core, calibration-autocal,
│                               # calibration-storage, hal, color-science
└── src/
    ├── lib.rs
    ├── engine.rs                 # CalibrationEngine — top-level coordinator
    ├── events.rs                 # CalibrationEvent (pub/sub to frontend)
    └── autocal_flow.rs           # GreyscaleAutoCalFlow — state machine

calibration-core has zero dependencies on storage or algorithms. calibration-autocal depends on core but not storage. calibration-storage depends on core but not autocal. calibration-engine is the wiring layer.

## 2.2 Greyscale AutoCal Data Flow

1. Engine initialization: CalibrationEngine::new(session_config, meter, display, pattern_gen, storage)

2. Connect phase: Engine calls meter.connect(), display.connect(), pattern_gen.connect(). Emits DeviceConnected events.

3. Pre-measurement (optional): If user requested pre-cal validation, engine runs patch set once and stores as measurement_type = "pre".

4. Patch sequence generation: GreyscalePatchSet::new(21) produces 21 RGB patches from (0,0,0) to (1,1,1). Emits PatchSequenceGenerated(21).

5. Per-patch loop: pattern_gen.display_patch(patch) -> settle delay -> MeasurementLoop::measure() with N=3 reads -> storage.save_reading() -> ProgressUpdated.

6. Analysis phase: GreyscaleAnalyzer::analyze(readings, target_space) computes per-channel correction curves. Emits AnalysisComplete.

7. LUT generation: Lut1DGenerator::from_corrections(analyzer.result, lut_size=256) produces 256-entry per-channel LUT. Emits LutGenerated.

8. Upload phase: Engine calls display.upload_1d_lut(&lut), display.set_white_balance(gains). Emits CorrectionsUploaded.

9. Post-measurement (optional): Same as pre, stored as measurement_type = "post".

10. Complete: Emits SessionComplete. Session state in DB becomes Finished.

Pause/Resume: Engine checks CalibrationState before every patch. If Paused, stores current_patch_index and returns. Resume picks up at same index.

Rollback: Any completed session can be rolled back by re-uploading previously stored pre-calibration LUT and white balance settings.

# 3. Core Types & Error Handling

## 3.1 State & Events

pub struct SessionConfig {
    pub name: String,
    pub target_space: TargetSpace,           // BT.709, BT.2020, P3, Custom
    pub tone_curve: ToneCurve,               // Gamma 2.2, 2.4, BT.1886, PQ, Custom
    pub white_point: WhitePoint,             // D65, D50, Custom(XYZ)
    pub patch_count: usize,                  // 21 for greyscale
    pub reads_per_patch: usize,              // 3 default
    pub settle_time_ms: u64,                 // 500 default
    pub stability_threshold: Option<f64>,    // None = fixed count mode
}

pub enum CalibrationState {
    Idle,
    Connecting,
    Connected,
    Measuring { current_patch: usize, total_patches: usize },
    Paused { at_patch: usize },
    Analyzing,
    ComputingLut,
    Uploading,
    Finished,
    Error(CalibrationError),
}

pub enum CalibrationEvent {
    DeviceConnected { device: String },
    PatchDisplayed { patch_index: usize, rgb: RGB },
    ReadingsComplete { patch_index: usize, xyz: XYZ, std_dev: XYZ },
    ProgressUpdated { current: usize, total: usize },
    AnalysisComplete { gamma: f64, max_de: f64, white_balance_errors: Vec<f64> },
    LutGenerated { size: usize },
    CorrectionsUploaded,
    SessionComplete { session_id: String },
    Error(CalibrationError),
}

## 3.2 Error Types

#[derive(Debug, Error, Clone)]
pub enum CalibrationError {
    #[error("Device connection failed: {device} - {reason}")]
    ConnectionFailed { device: String, reason: String },

    #[error("Measurement failed at patch {patch_index}: {reason}")]
    MeasurementFailed { patch_index: usize, reason: String },

    #[error("Meter read failed: {0}")]
    MeterRead(String),

    #[error("Display upload failed: {0}")]
    DisplayUpload(String),

    #[error("Analysis failed: {0}")]
    Analysis(String),

    #[error("Session paused by user")]
    Paused,

    #[error("Invalid configuration: {0}")]
    InvalidConfig(String),
}

CalibrationError is Clone so it can be stored in CalibrationState::Error and emitted as an event without ownership issues. Every error includes context (patch index, device name) for debugging. Paused is treated as an error variant for state machine simplicity.

# 4. Storage Schema (SQLite)

CREATE TABLE sessions (
    id          TEXT PRIMARY KEY,          -- UUID v4
    name        TEXT NOT NULL,
    created_at  INTEGER NOT NULL,          -- Unix timestamp (ms)
    updated_at  INTEGER NOT NULL,
    state       TEXT NOT NULL,             -- "idle", "measuring", etc.
    config_json TEXT NOT NULL,             -- Serialized SessionConfig
    target_space TEXT NOT NULL,
    error_json  TEXT                       -- null unless state = "error"
);

CREATE TABLE patches (
    session_id  TEXT NOT NULL REFERENCES sessions(id) ON DELETE CASCADE,
    patch_index INTEGER NOT NULL,
    patch_type  TEXT NOT NULL,             -- "greyscale", "saturation_red", etc.
    target_rgb  TEXT NOT NULL,             -- JSON [r, g, b]
    PRIMARY KEY (session_id, patch_index)
);

CREATE TABLE readings (
    session_id    TEXT NOT NULL REFERENCES sessions(id) ON DELETE CASCADE,
    patch_index   INTEGER NOT NULL,
    reading_index INTEGER NOT NULL,        -- 0, 1, 2 for each of N reads
    raw_xyz       TEXT NOT NULL,           -- JSON [x, y, z]
    measurement_type TEXT NOT NULL,        -- "pre", "cal", "post"
    measured_at   INTEGER NOT NULL,        -- Unix timestamp (ms)
    PRIMARY KEY (session_id, patch_index, reading_index, measurement_type)
);

CREATE TABLE computed_results (
    session_id   TEXT PRIMARY KEY REFERENCES sessions(id) ON DELETE CASCADE,
    gamma        REAL,
    max_de       REAL,
    avg_de       REAL,
    lut_1d_json  TEXT,                     -- Serialized Lut1D
    white_balance TEXT,                    -- JSON {r, g, b}
    computed_at  INTEGER NOT NULL
);

config_json stores the full SessionConfig as JSON so schema changes do not require migration. Readings are stored per individual reading (not averaged), enabling re-analysis with different algorithms without re-measuring. measurement_type distinguishes pre-cal, calibration, and post-cal readings in one table.

# 5. Testing Strategy

## 5.1 Unit Tests (per crate)

calibration-core: PatchSet generation, ReadingStats (mean, std dev), CalibrationState transitions

calibration-autocal: GreyscaleAnalyzer against known reference data, LUT correctness (round-trip test)

calibration-storage: SQLite CRUD, schema migration, cascading delete

## 5.2 Integration Tests (calibration-engine)

Full greyscale flow with FakeMeter, FakeDisplayController, FakePatternGenerator

Pause/resume at patch 7, verify continuation from correct index

Crash recovery: kill engine mid-session, verify resumable from DB state

Error injection: make FakeMeter fail at patch 10, verify state becomes Error with correct context

## 5.3 Golden Path Test

#[test]
fn test_greyscale_autocal_with_mocks() {
    let meter = FakeMeter::with_preset(XYZ { x: 50.0, y: 75.0, z: 25.0 });
    let display = FakeDisplayController::default();
    let gen = FakePatternGenerator::default();
    let storage = InMemoryStorage::new();

    let config = SessionConfig {
        name: "Test Greyscale".to_string(),
        target_space: TargetSpace::Bt709,
        tone_curve: ToneCurve::Gamma(2.2),
        white_point: WhitePoint::D65,
        patch_count: 21,
        reads_per_patch: 3,
        settle_time_ms: 0,
        stability_threshold: None,
    };

    let mut engine = CalibrationEngine::new(config, meter, display, gen, storage);
    let result = engine.run_greyscale_autocal();

    assert!(result.is_ok());
    assert_eq!(engine.state(), CalibrationState::Finished);
}

# 6. Performance Considerations

SQLite WAL mode for concurrent reads during write-heavy measurement loops

Batch inserts for readings if n_reads > 1 (insert all 3 readings in one transaction)

Event channel bounded at 256 messages to prevent unbounded memory growth if UI lags

# 7. Out of Scope (Phase 3b+)

| Feature | Phase |
| --- | --- |
| LG OLED AutoCal HTTP protocol | Phase 3b |
| PGenerator HTTP pattern display | Phase 3b |
| X-Rite i1 Display Pro HID driver | Phase 3c |
| Color gamut (saturation sweeps, CMS) | Phase 3d |
| 3D LUT generation | Phase 4 |
| HDR tone curve (PQ, HLG) | Phase 4 |
| Device profiling | Phase 5 |
| Tauri IPC wiring | Phase 3b/3c |

# 8. Spec Self-Review

Placeholder scan: No TBD, TODO, or incomplete sections. All code is complete.

Internal consistency: Crate dependency graph matches. Types defined in core are used in autocal, storage, and engine.

Scope check: Focused on greyscale AutoCal. Color gamut, HDR, 3D LUT explicitly scoped out.

Ambiguity check: All enum variants have concrete types. Error messages include context. State machine has explicit transitions.

No issues found.

-- End of Document --